## Main Sheet
CKT | Circuit Description | Trip | Poles | A |  | B |  | C |  | Poles | Trip | Circuit Description | CKT
1 | Lighting in Plant room, Refuse, metering rooms | 10 A | 1 | 646 VA | 360 VA |  |  |  |  | 1 | 20 A | Power in Plant room | 2
3 | Power | 20 A | 1 |  |  | 360 VA | 0 VA |  |  | 3 | 40 A | Heat Pump 1 | 4
5 | Heat Pump 2 | 40 A | 3 |  |  |  |  | 0 VA | 0 VA | -- | -- | -- | 6
7 | -- | -- | -- | 0 VA | 0 VA |  |  |  |  | -- | -- | -- | 8
9 | -- | -- | -- |  |  | 0 VA | 0 VA |  |  | 1 | 20 A | Other | 10
11 | Circulating Pump 1 | 20 A | 1 |  |  |  |  | 0 VA | 0 VA | 1 | 20 A | Circulating Pump 2 | 12
13 |  |  |  |  | 0 VA |  |  |  |  | 3 | 60 A | Main Booster Pump | 14
15 | [6 empty] | 0 VA |  |  | -- | -- | -- | 16
17 | [8 empty] | 0 VA | -- | -- | -- | 18
19 | Other | 20 A | 1 | 0 VA | 0 VA |  |  |  |  | 1 | 20 A | Other | 20
21 | [12 empty] | 22
23 | [12 empty] | 24
25 | [12 empty] | 26
27 | [12 empty] | 28
29 | [12 empty] | 30
31 | [12 empty] | 32
33 | [12 empty] | 34
35 | [12 empty] | 36
37 | [12 empty] | 38
39 | [12 empty] | 40
41 | [12 empty] | 42
|  | Total Load: |  | 997 VA |  | 360 VA |  | 0 VA
|  | Total Amps: |  | 5 A |  | 2 A |  | 0 A
Legend:

## Header
Branch Panel: | DB-PLANTROOM
Location: | Plant Room P01 | Volts: | 230/400 Wye | A.I.C. Rating:
Supply From: | ` | Phases: | 3 | Mains Type:
Mounting: |  | Wires: | 4 | Mains Rating:
Enclosure: |  |  |  | MCB Rating: | 1 A
Notes:

## Summary
Load Classification | Connected Load | Demand Factor | Estimated Demand | Panel Totals
Lighting | 0 VA | 0.00% | 0 VA
Other | 646 VA | 100.00% | 646 VA | Total Conn. Load: | 1352 VA
Power | 720 VA | 100.00% | 720 VA | Total Est. Demand: | 1352 VA
|  |  |  | Total Conn. Current: | 2 A
|  |  |  | Total Est. Demand Current: | 2 A

## Footer
Notes: