## Main Sheet
CKT | Circuit Description | Trip | Poles | A |  | B |  | C |  | Poles | Trip | Circuit Description | CKT
1 | Corridor Lighting | 20 A | 1 | 132 VA | 0 VA |  |  |  |  | 1 | 20 A | Other | 2
3 | Staircase Lighting | 20 A | 1 |  |  | 0 VA | 0 VA |  |  | 1 | 20 A | Staircase Lighting | 4
5 | Streetlighting | 20 A | 1 |  |  |  |  | 180 VA | 8 VA | 1 | 20 A | Entrance Lighting | 6
7 | Power | 20 A | 1 | 360 VA | 10 VA |  |  |  |  | 1 | 20 A | Photcell | 8
9 | UPS | 20 A | 1 |  |  | 0 VA | 0 VA |  |  | 1 | 20 A | Other | 10
11 | [12 empty] | 12
13 | [12 empty] | 14
15 | [12 empty] | 16
17 | [12 empty] | 18
19 | [12 empty] | 20
21 | [12 empty] | 22
23 | [12 empty] | 24
25 | [12 empty] | 26
27 | [12 empty] | 28
29 | [12 empty] | 30
31 | [12 empty] | 32
33 | [12 empty] | 34
35 | [12 empty] | 36
37 | [12 empty] | 38
39 | [12 empty] | 40
41 | [12 empty] | 42
|  | Total Load: |  | 502 VA |  | 0 VA |  | 188 VA
|  | Total Amps: |  | 2 A |  | 0 A |  | 1 A
Legend:

## Header
Branch Panel: | DB-0-A
Location: | duct CO2 | Volts: | 230/400 Wye | A.I.C. Rating:
Supply From: | MDB-F03 | Phases: | 3 | Mains Type:
Mounting: |  | Wires: | 4 | Mains Rating:
Enclosure: |  |  |  | MCB Rating: | 1 A
Notes:

## Summary
Load Classification | Connected Load | Demand Factor | Estimated Demand | Panel Totals
Lighting | 188 VA | 100.00% | 188 VA
Other | 142 VA | 100.00% | 142 VA | Total Conn. Load: | 536 VA
Power | 360 VA | 100.00% | 360 VA | Total Est. Demand: | 536 VA
|  |  |  | Total Conn. Current: | 1 A
|  |  |  | Total Est. Demand Current: | 1 A

## Footer
Notes: